## Slide 1: Team 54: ECEN 215 Lab Kit Bi-Weekly Update 1 Gavin Bernard, Maylun Huang, Evan Slyter Sponsor: Professor Lusher TA: Hailey Ward
Notes: Michelle

## Slide 2
Problem Statement
Access to an affordable, course-specific solution for distance-learning students to complete ECEN 215 Labs is minimal
Our Solution
An affordable, self-contained system that enables hands-on measurements and intuitive data displays
Project Summary
AD2 Kit: $400
Notes: Eric

## Slide 3: Project/Subsystem Overview
Subsystem | Responsibility
Power Supply | Gavin Bernard
Signal Generator | Gavin Bernard
Mobile Application | Evan Slyter
Multimeter | Maylun Huang
Oscilloscope | Maylun Huang
PCB
Software
Notes: Eric

## Slide 4: Major Project Changes for 404
No changes have been made
Notes: Eric

## Slide 5: Project Timeline
1/26 | 2/9 | 2/23 | 3/9 | 3/23 | 4/20
Validate subsystems PCB integration Labkit BLE output seen by app | Finalize PCB design and order Start coding | Fully soldered PCB App integration started | Integration complete Debugging and testing | Final Validation | Final Demo
Notes: Eric

## Slide 6: Power Supply/Signal Generator Gavin Bernard
Accomplishments since 403 10 hrs of effort | Ongoing progress/problems and plans until the next presentation
Redesign for constant voltage High current testing | Combine to one PCB Connect the signal generator and the varied voltage to app

## Slide 7: Power Supply/Signal Generator Gavin Bernard
Removal of Jumper Cables
Integrated ESP 32
Adjust the Signal Generator to reach edge cases
More compact design for constant outputs

## Slide 8: Measurement Subsystem Maylun Huang
Accomplishments since 403 6 hrs of effort | Ongoing progress/problems and plans until the next presentation
Validated multimeter results Adjusted ohmmeter to better suit measurement ranges | Combine PCB design with Power Generation subsystem

## Slide 9: Measurement Subsystem Maylun Huang
Validated PCB
Adjusting ammeter to measure larger range
Adjusting layout to remove polygons and jumper wires
MCU transition from dev-kit to PCB

## Slide 10: Mobile App Evan Slyter
Accomplishments since 403 4 hrs of effort | Ongoing progress/problems and plans until the next presentation
Ensured app is still in same condition as 403 | Use BLE output from other device and receive data on app Modeling main body of labkit

## Slide 11: Mobile App Evan Slyter
-Labs fully implemented
-BLE scanning in progress

## Slide 12: 3D Model Evan Slyter
-Basic model
-Dimensions needed from PCB
-Undecided if sealed/openable

## Slide 13: Parts Ordering Status
  Final PCB & components remain to be ordered
Notes: Michelle

## Slide 14: Execution & Plan
Notes: Execution plan
  Your team planned milestones for completion of any remainingsubsystem functionality, integration of specific subsystems,test, and validation plans should be presented.
  Milestones should have owners … things like final integrationcan be group owned
  Gantt chart – should indicate some 404 progress.
  Try to complete all subsystem function in next 3 weeks.
  Try to complete all integration 2 weeks before demo to allowfor system validation and documentation

## Slide 15: Validation
Notes: Execution plan
  Your team planned milestones for completion of any remainingsubsystem functionality, integration of specific subsystems,test, and validation plans should be presented.
  Milestones should have owners … things like final integrationcan be group owned
  Gantt chart – should indicate some 404 progress.
  Try to complete all subsystem function in next 3 weeks.
  Try to complete all integration 2 weeks before demo to allowfor system validation and documentation

## Slide 16: Questions?